CSUCI Asbestos Operations and Maintenance Program

1.0	Statement

It is the intent of California State University Channel Islands to provide employees and visitors with a safe and healthful environment.  The primary objective of this program is to prevent exposure to airborne asbestos fibers.  This will be accomplished by minimizing disturbance of asbestos containing materials, or by procedures to contain fibers when disturbance of these materials is planned.  All work will be done in accordance with OSHA standards and other regulatory guidelines.  To ensure regulatory compliance and safety, in-house work that may disturb asbestos containing materials should comply with the provisions of this Operations and Maintenance Program.

2.0	Purpose/Scope

- 2.1	Purpose

This program is intended to prevent release of asbestos fibers; first, by minimizing disturbance or damage to asbestos containing materials during normal operations, and second, by monitoring the condition of asbestos containing materials (ACM).

- 2.2	Scope

This program is intended to address work conducted by CSUCI staff.  This type of work will be small scale, short duration maintenance, repair and installation projects involving minor disturbance of asbestos containing materials.  No more than one hundred (100) square feet of asbestos containing material may be disturbed in any single project.

- Definitions

Asbestos Containing Material (ACM): Any material containing more than one percent asbestos.

Friable asbestos: Any material that contains more than one percent asbestos and can be crumbled, pulverized or reduced to powder by hand pressure.

Competent Person:  A person who is capable of identifying asbestos and other hazards in the workplace and has authorization to take prompt corrective action to mitigate hazards.  This person also must be capable of selecting an appropriate control strategy for asbestos exposures.

4.0	References

4.1	Asbestos in Buildings: Guidance for Service and Maintenance Personnel.  U.S. Environmental Protection Agency, July, 1985.

- 4.2	Guidance for Controlling Asbestos Containing Materials in Buildings.  U.S. Environmental Protection Agency, June, 1985.

4.3	Managing Asbestos in Place:  A Building Owners Guide to Operations and Maintenance Programs for Asbestos Containing Materials.  U.S. Environmental Protection Agency, July, 1990.

4.4	CA Title 8 Section 1529, Construction Safety Orders - Asbestos

5.0	Administration and Responsibilities

  - Asbestos Program Manager

Maintain the written Asbestos Operations and Maintenance Program.

Periodically assess Program compliance.

Distribute annual ACM in facilities notification (section 6.0 below).

Maintain an inventory of ACM types and locations.

  - OPC Safety Coordinator

Ensure that all employees receive training appropriate for their roles in managing ACM.

Inform Custodial and Maintenance staff about the locations of ACM and caution them about disturbance or damage (i.e. awareness training).

Maintain records as required by this program.

  - Building Inspector/ O&M program coordinator (competent person)

Inspect any renovation or demolition work to determine if ACM is present.  Perform exposure assessment and ensure appropriate procedures and safety practices will be followed before authorizing construction or maintenance work involving ACM.  These procedures include containment barriers around construction, the use of Tyvek coveralls and respirators by workers, and appropriate decontamination when ACM is disturbed.

Periodically inspect all known ACM for deterioration and when appropriate take action to prevent release of asbestos fibers (section 7.0 below).

- 5.3	Employees

Custodial and Maintenance staff should clear any work that may disturb ACM with the O&M program coordinator before work begins.

Avoid sanding or stripping floor tiles that contain asbestos or the mastic underneath.

Report any damage to ACM to their supervisor or the O&M program coordinator.

6.0	Notification

University employees, off-Campus contractors and lessees must be informed of the presence of ACM in facilities.  Abatement notifications are the responsibility of abatement contractors.  CSUCI staff will not disturb ACM in amounts that require other notifications.

- Surveillance

The O&M program coordinator should periodically inspect all ACM for deterioration and when appropriate take action to prevent fiber release.  Custodial and maintenance staff should be aware of and report deterioration of ACM to the O&M program coordinator.

- Controls

  - Lessees and Contractors

Lessees and contractors will be informed of the presence of ACM in facilities.

  - University operations and maintenance

1.	Suspect ACM will be treated as actual ACM and appropriate controls and work practices will be used when the material is disturbed.

- In order to treat suspect ACM as non-asbestos material, the material must be demonstrated to be non-ACM through testing.  Appropriate samples must be taken by the Building Inspector and analyzed by a certified laboratory.

- Removal of ACM by CSUCI staff will not exceed 100 square feet in any single project.

- Any renovation or demolition must be cleared through the O&M Program Coordinator to determine if ACM is present.

9.0	Work Practices

9.1	Workers who do planned disturbance of ACM will abide by the following work practices.

- Wear protective coveralls and respiratory protection.

- Use wet methods to minimize the chance of air borne fibers.

- Control access to work area during disturbance of ACM.

- Shut off ventilation to area during disturbance of ACM.

- Obtain prior approval for any work disturbing ACM from O&M competent person.

- Dispose of waste properly.

  - Decontamination procedures

1.	Decontamination procedures will be determined by the Competent Person based on the presence of asbestos contamination.

2.	In the absence of a negative exposure assessment a separate area covered by a drop cloth will be used.  HEPA vacuum cleaning will be done on equipment, coveralls and anything to be removed from the area.

3.	In the case of known asbestos contamination, air samples over the TWA, or other exceptional conditions the Competent Person will determine appropriate decontamination procedures.

  - General Precautions and Procedures

Asbestos can be found in many buildings as a component of building construction materials.  Asbestos is a hazardous material which may cause adverse health effects.  However, asbestos does not pose a threat to health unless the asbestos fibers become airborne.

Avoid touching asbestos-containing materials on walls, ceilings, pipes, or boilers.  DO NOT drill holes, hang plants or other objects from walls or ceilings made of asbestos-containing materials.  DO NOT DISTURB asbestos-containing materials when replacing light bulbs.  DO NOT DISTURB damaged asbestos-containing materials or asbestos debris.  If you find asbestos-containing materials that have been damaged, immediately do the following:

1.	Stop any activities that will generate dust or spread debris.

2.	Contact the asbestos program coordinator.

3.	DO NOT attempt to handle or clean up damaged materials unless trained, licensed, or authorized to do so.

4.	For more information, you can contact the following people:

- Safety Coordinator – Operations, Planning and Construction

- (805) 437-3369

- Director – Environment, Safety and Risk Management

(805) 437-8847

10.0	Record Keeping

The University will maintain:

- A written asbestos operations and maintenance program

- Training records, several types, both initial and refresher

- Records of exposure assessments, regulated areas, cleared (safe) areas

- Records of air monitoring, both personal air samples and area samples

- Records of periodic inspections of ACM

- Respiratory Protection Program records including annual medical evaluations, respirator fit testing and respirator training.

11.0	Worker Protection

  - Medical Evaluation

Medical evaluations will be performed to ensure that employees are medically fit to wear a respirator when they are required to do so under this program.

  - Respiratory Protection

Respiratory protection will be required when employees disturb ACM.

12.0	Training

  - Program Coordinator (competent person)

EPA "Supervisor, or equivalent (40 hours)

  - Workers who will disturb ACM

Minimum of 16 hours;  "Special Operation and Maintenance," for workers who will do planned disturbances of ACM during operations and maintenance.

  - Custodial and Maintenance workers

Minimum of two hours;  "Awareness Level" training on the location of ACM, proper procedures for cleaning and maintenance and what actions to take if ACM is accidentally disturbed.

CSUCI Asbestos Operations and Maintenance Program

Supplement on Regulated Areas   8CCR 1529 (e)

Regulated Area

A regulated area is an area established by the employer to demarcate areas where asbestos work is conducted and any adjoining area where debris and waste from such asbestos work accumulate or, a work area within which airborne concentrations of asbestos exceed, or there is a reasonable possibility they may exceed the PEL.

Requirements for Regulated Areas

Signs

Regulated areas must be demarcated to minimize the number of persons within the area and protect persons outside the area from exposure to asbestos.

Access

Access must be limited to authorized persons.

Respirators

Respiratory protection will be required inside regulated areas unless a negative exposure assessment has been conducted and documented.

Prohibited Activities

Eating, drinking, smoking, chewing tobacco or gum, and applying cosmetics are not allowed.

Competent Person Requirement

All work in regulated areas must be supervised by an asbestos “Competent Person.”

CSUCI Asbestos Operations and Maintenance Program

Supplement on Monitoring   8CCR 1529 (f)

Monitoring

Perform based on personal sampling for both 30 minute excursion and 8 hr TWA if feasible.

Initial Exposure Assessment

A “Competent Person” must conduct an exposure assessment before all O&M operations.

For this initial exposure assessment use monitoring, observations, and other information including previous monitoring to ascertain expected asbestos exposures.

This initial assessment will, if feasible, require personal air monitoring unless we have generated a negative exposure assessment from prior work as detailed below.

Negative Exposure Assessment

Obtain objective data that demonstrates that asbestos can not exceed PEL under conditions of work.

or

Monitoring within the last 12 months showing that exposure, with a high degree of certainty, is below PEL and excursion limit.

or

Initial exposure monitoring for PEL and excursion limit show, for entire job, asbestos will not exceed PEL or excursion limit during the entire job.

Periodic Monitoring

Generally, perform for all exposures that are expected to exceed the PEL, at intervals that are sufficient to document the validity of the initial exposure assessment.

Additional monitoring required if there is any change in the work process, personnel, control equipment or conditions that may create an exposure in excess of the PEL.

Periodic monitoring may be terminated if it is continued until sufficient data is collected to demonstrate statistically that that, with a high degree of certainty, there will be no exposures in excess of the PEL.

Notification

Employees will be notified of personal sampling results within 5 days of receipt of monitoring results.

CSUCI Asbestos Operations and Maintenance Program

Supplement on Labeling (8CCR 1529 (k) (7)

Regulated Areas

A regulated area is an area, established by the employer, where O&M work takes place, and adjoining areas where debris or waste accumulate, or where there is a reasonable possibility that asbestos levels will exceed the PEL.  Regulated areas will be labeled with one or both of the following signs:

DANGER

ASBESTOS

CANCER AND LUNG DISEASE HAZARD

AUTHORIZED PERSONNEL ONLY

RESPIRATORS AND PROTECTIVE CLOTHING

ARE REQUIRED IN THIS AREA

Labels on Exposed ACM Materials

When ACM containing materials are present, and exposed in a non-regulated area, and likely to release fibers in excess of the PEL if disturbed (eg pipe with air cell ACM insulation in an occupied area without asbestos warning signs on entry doors) labels will be affixed as follows:

DANGER

CONTAINS ASBESTOS FIBERS

AVOID CREATING DUST

CANCER AND LUNG DISEASE HAZARD

This does not apply when asbestos fibers are bonded or bound such that reasonable handling, use or processing is unlikely to release asbestos fibers in excess of the PEL (eg floor tiles, mastic).

All signs should be available in both English and Spanish.  The languages will be used as appropriate.

- CSUCI Asbestos Operations and Maintenance Program

- Supplement on Training  8CCR 1529 (k)(9)(e)

- Workers who do this work:

Maintenance and custodial activities when there will be contact with ACM but no disturbance of the material (e.g. buffing floor tiles that contain asbestos) and cleaning up asbestos containing waste in connection with abatement work performed by others.

- Need this:

Asbestos awareness training; two hour minimum; consistent with EPA requirements under 40 CFR763.92(a)(1).

- Plus: Annual awareness refresher training

- Workers who do this work:

Repair and maintenance activities when it is likely that asbestos containing materials will be disturbed (e.g. replacing windows with asbestos containing window putty, repairing plumbing that has asbestos insulation, working in a space where there is widespread visible asbestos contamination).

- Need this:

Asbestos "Operations and Maintenance" training, including "hands on" training; sixteen hour minimum; consistent with EPA requirements under 40 CFR763.92(a)(2).

- Plus: Annual operations and maintenance refresher training (no minimum hours specified)

- Supervisors or competent persons i.e.:

Person who is the "lead" for OPC activities that may involve asbestos.  They identify asbestos, do initial exposure assessment and are authorized to take prompt corrective action to mitigate hazards.

- Need this:

Asbestos "Supervisor" or "Competent Person" training; sixteen to forty hours; consistent with EPA requirements under 40 CFR763.

Plus: Annual supervisor or competent person refresher training

CSUCI Asbestos Operations and Maintenance Program

Exposure assessment record    CCR 1529 (f) (2)

INITIAL EXPOSURE ASSESSMENT

A “Competent Person” must conduct an exposure assessment before all O&M operations.  This initial assessment will require personal air monitoring (8 hour TWA or 30 min excursion) unless not feasible or we have generated a negative exposure assessment.

Competent Person:  ___________________________

Building and specific location(s):						Date:___________

____________________________________________________________________________________________________________________________________________________________________________________

Observations:

Any ACM or PACM present ?  _______  Good condition?__________  Any potential for contamination from adjacent areas?_______      Other observations?  _____________________________________________

_____________________________________________________________________________________

Other information:

____________________________________________________________________________________________________________________________________________________________________________________

Monitoring:

Personal air samples (8 hr TWA or 30 min excursion: current or previous)  ______________________________

_________________________________________________________________________________________

Area samples (current or previous)  _____________________________________________________________

Is it possible that asbestos air concentrations will exceed the PEL?

__________________________________________________________________________________________

What are expected exposures?

__________________________________________________________________________________________

Is this a negative exposure assessment?

NEGATIVE EXPOSURE ASSESSMENT

List or describe objective data that demonstrates that asbestos can not exceed PEL under conditions of work.  This data can be that the ACM material itself is inherently incapable of releasing a significant amount of asbestos fibers under the work conditions or that the work activities can not create airborne asbestos in excess of the PEL.

_________________________________________________________________________________________

_________________________________________________________________________________________

_________________________________________________________________________________________

Or

Monitoring within the last 12 months showing that exposure, with a high degree of certainty, is below PEL and excursion limit.

_______________________________________________________________________________________

Or

Initial exposure monitoring for PEL and excursion limit show, for entire job, asbestos will not exceed PEL or excursion limit during the entire job.

________________________________________________________________________________________

Objective data include the following work conditions:

Is ACM present?

Is ACM in good condition and labeled?

Is area sealed off from other areas that may be contaminated?

Are those sealed off entry points properly labeled?

If an area is ACM free, or has ACM that is labeled and in good condition and is sealed off from potential contamination then that is sufficient for a negative exposure assessment.  Then the area can become non-regulated and PPG and other safety procedures are not required.

If initial exposure assessment indicates the possibility of exposure to asbestos over the PEL (eg crawls in soil) then respiratory protection and tyveks will be required for entry, personal sampling will be required, and appropriate decontamination will be required.

If repeated personal samples indicate that there is little chance of exposure to asbestos over the PEL then personal sampling can be discontinued and decontamination can be done using a clean area and HEPA vacuum.

CSUCI Asbestos Operations and Maintenance Program

Periodic ACM inspection form   8CCR 1529 (k)(8)

Inspector Name _________________________________  Date________

Building Name or Number ____________________________ Room __________

Specific location of ACM: ______________________________________________________

Accessible to public?  (non–regulated) work area _________yes _________no

Type of ACM: ________________________________________________________________

Friable? _________________Yes __________________No

Surfacing _______ Thermal System Insulation ________ Miscellaneous _______

Date Material Sampled ______________________or _______________Assumed

Amount of Material:_______ Square Feet or _______ Linear Feet, _______ Inches Diameter

Is ACM labeled?  ________yes ________no

ACM is in good condition? ________yes ________no

Is label or repair necessary?  If so specify action required.  _________________________

____________________________________________________________________________

If damaged, provide the information below:

Extent or Spread of Damage in Homogeneous Area:

___________Percent of Damage ___________Localized _____________Distributed

Type of Damage (Check as Many as appropriate.)

_________a. Flaking

_________b. Blistering

_________c. Peeling

_________d. Water Damage

_________e. Crumbling

_________f. Other

Known or Suspected Causes of Damage:

_________a. Air Erosion

_________b. Vandalism

_________c. Vibration

_________d. Water

_________e. Maintenance or Custodial Activity

_________f. Other